## Results
Block Type | 384-Well Block
Calibration Background is expired | Yes
Calibration Background performed on | 2015-09-28 10:38:58 AM NZDT
Calibration FAM is expired | Yes
Calibration FAM performed on | 2015-09-28 12:44:37 PM NZDT
Calibration NED is expired | Yes
Calibration NED performed on | 2015-09-28 12:27:45 PM NZDT
Calibration ROI is expired | Yes
Calibration ROI performed on | 2015-09-28 10:31:42 AM NZDT
Calibration ROX is expired | Yes
Calibration ROX performed on | 2015-09-28 11:50:26 AM NZDT
Calibration SYBR is expired | Yes
Calibration SYBR performed on | 2015-09-28 11:35:56 AM NZDT
Calibration TAMRA is expired | Yes
Calibration TAMRA performed on | 2015-09-28 12:05:53 PM NZDT
Calibration Uniformity is expired | Yes
Calibration Uniformity performed on | 2015-09-28 11:17:29 AM NZDT
Calibration VIC is expired | Yes
Calibration VIC performed on | 2015-09-28 12:36:53 PM NZDT
Chemistry | SYBR_GREEN
Experiment File Name | D:\Tannock\Extraction comparisons.eds
Experiment Name | Extraction comparisons
Experiment Run Start Time | 2016-08-01 23:54:44 PM NZST
Experiment Run Stop Time | 2016-08-02 00:51:10 AM NZST
Experiment Type | Standard Curve
Instrument Name | ViiA7
Instrument Serial Number | 278880388
Instrument Type | ViiA(TM) 7 System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
[12 empty] | Delta Ct |  | 2^DeltaCt | [5 empty] | Table X: Comparison of DNA extraction methods
Well Position | Sample Name | Target Name | Task | CT | Ct Mean | Ct SD | Quantity | Quantity Mean | Quantity SD | Tm1 | Tm2 | Uni-Kinase Ct | Uni - Sial Ct | 2^Uni-Kinase Ct | 2^Uni-Sial Ct | Kin Av | Sial Av | Kin indiv | Sial indiv | Sample | Method | Longum relative abundance | Infantis relative abundance
M6 | 58550-MB | Kinase F/R + Probe | UNKNOWN | 18.1533 | 18.0079 | 0.20555 | 0.15876 | 0.17429 | 0.021973 | 92.2711 |  | -6.7145 | 11.2934 | 105.0194 | 0.00039842 | 51.75% | 0% | 47.14% |  | 58550 | MoBio | 51.75 | 0
N6 | 58550-MB | Kinase F/R + Probe | UNKNOWN | 17.8626 | 18.0079 | 0.20555 | 0.18983 | 0.17429 | 0.021973 | 91.0637 | [7 empty] | 56.36% |  | 58550 | Phenol | 34.07 | 0
M5 | 58550-PH | Kinase F/R + Probe | UNKNOWN | 14.7043 | 14.6375 | 0.094513 | 1.3239 | 1.3806 | 0.080193 | 92.137 |  | -7.5987 | 7.0388 | 193.8365 | 0.0076054 | 34.07% | 0% | 32.67% |  | 58550 | Qiagen | 66.85 | 0
N5 | 58550-PH | Kinase F/R + Probe | UNKNOWN | 14.5706 | 14.6375 | 0.094513 | 1.4373 | 1.3806 | 0.080193 | 90.6612 | [7 empty] | 35.47% |  | AF26B | MoBio | 1.66 | 0.14
M7 | 58550-Q | Kinase F/R + Probe | UNKNOWN | 20.3704 | 20.3441 | 0.037153 | 0.040609 | 0.041276 | 0.00094293 | 89.7221 |  | -5.7711 | -21.8978 | 54.6113 | 3907438.843 | 66.85% | 0.0007289% | 65.77% |  | AF26B | Phenol | 0.18 | 0.19
N7 | 58550-Q | Kinase F/R + Probe | UNKNOWN | 20.3178 | 20.3441 | 0.037153 | 0.041943 | 0.041276 | 0.00094293 | 92.5395 | [7 empty] | 67.93% |  | AF26B | Qiagen | 0.72 | 0.62
A6 | AF12A-MB | Kinase F/R + Probe | UNKNOWN | 15.4279 | 15.4673 | 0.055781 | 0.84839 | 0.8283 | 0.028407 | 93.0761 |  | -5.6746 | 9.7927 | 51.0765 | 0.0011275 | 78.61% | 0% | 80.51% |  | AF12A | MoBio | 78.61 | 0
B6 | AF12A-MB | Kinase F/R + Probe | UNKNOWN | 15.5068 | 15.4673 | 0.055781 | 0.80822 | 0.8283 | 0.028407 | 92.9419 | [7 empty] | 76.7% |  | AF12A | Phenol | 75.17 | 0
A5 | AF12A-PH | Kinase F/R + Probe | UNKNOWN | 15.7287 | 15.7777 | 0.069258 | 0.70509 | 0.68449 | 0.029143 | 92.8078 |  | -6.1478 | -24.9188 | 70.9054 | 31717454.3995 | 75.17% | 0% | 77.43% |  | AF12A | Qiagen | 75.77 | 0
B5 | AF12A-PH | Kinase F/R + Probe | UNKNOWN | 15.8267 | 15.7777 | 0.069258 | 0.66388 | 0.68449 | 0.029143 | 92.8078 | [7 empty] | 72.91% |  | AF92A | MoBio | 0.2 | 0
A7 | AF12A-Q | Kinase F/R + Probe | UNKNOWN | 16.255 | 16.2313 | 0.033546 | 0.51016 | 0.51771 | 0.010679 | 91.7345 |  | -6.1478 | 10.0835 | 70.9028 | 0.00092166 | 75.77% | 0% | 74.66% |  | AF92A | Phenol | 0.02 | 0
B7 | AF12A-Q | Kinase F/R + Probe | UNKNOWN | 16.2075 | 16.2313 | 0.033546 | 0.52526 | 0.51771 | 0.010679 | 92.8078 | [7 empty] | 76.87% |  | AF92A | Qiagen | 0.06 | 0
E6 | AF26B-MB | Kinase F/R + Probe | UNKNOWN | 20.1023 | 20.0791 | 0.032788 | 0.047887 | 0.04858 | 0.00097943 | 92.6736 |  | -12.4811 | -25.1456 | 5717.2317 | 37117065.9971 | 1.663% | 0.1312% | 1.612% | 0.1335%
F6 | AF26B-MB | Kinase F/R + Probe | UNKNOWN | 20.0559 | 20.0791 | 0.032788 | 0.049272 | 0.04858 | 0.00097943 | 92.9419 | [7 empty] | 1.658% | 0.1438%
E5 | AF26B-PH | Kinase F/R + Probe | UNKNOWN | 24.0281 | 24.1081 | 0.11327 | 0.0042833 | 0.0040824 | 0.00028412 | 89.1855 |  | -16.0507 | -24.4468 | 67881.0008 | 22867577.9318 | 0.1828% | 0.0002876% | 0.1969% | 0.1869%
F5 | AF26B-PH | Kinase F/R + Probe | UNKNOWN | 24.1882 | 24.1081 | 0.11327 | 0.0038815 | 0.0040824 | 0.00028412 | 92.0028 | [7 empty] | 0.1785% | 0.1785%
E7 | AF26B-Q | Kinase F/R + Probe | UNKNOWN | 23.4497 | 23.6183 | 0.23843 | 0.0061128 | 0.0055404 | 0.00080944 | 93.0761 |  | -13.7443 | -24.9265 | 13722.9746 | 31887758.7958 | 0.7174% | 9.28e-05% | 0.8162% | 0.8162%
F7 | AF26B-Q | Kinase F/R + Probe | UNKNOWN | 23.7869 | 23.6183 | 0.23843 | 0.0049681 | 0.0055404 | 0.00080944 | 92.137 | [7 empty] | 0.6633% | 0.6244%
I6 | AF92A-MB | Kinase F/R + Probe | UNKNOWN | 32.0911 | 31.9829 | 0.15298 | 3.0089e-05 | 3.223e-05 | 3.0276e-06 | 93.2103 |  | -15.4806 | 16.5024 | 45721.0159 | 1.0772e-05 | 0.1985% | 0% | 0.1853% | 0
J6 | AF92A-MB | Kinase F/R + Probe | UNKNOWN | 31.8748 | 31.9829 | 0.15298 | 3.4371e-05 | 3.223e-05 | 3.0276e-06 | 92.6736 | [7 empty] | 0.2117% | 0
I5 | AF92A-PH | Kinase F/R + Probe | UNKNOWN | 34.6911 | 35.1161 | 0.60113 | 6.0822e-05 | 4.8441e-06 | 1.751e-06 | 92.4053 |  | -24.5546 | -21.6811 | 24641054.5074 | 3362470.9081 | 0.01793% | 0.0006494% | 0.01641% | 4.9187e-06
J5 | AF92A-PH | Kinase F/R + Probe | UNKNOWN | 35.5412 | 35.1161 | 0.60113 | 7.206e-05 | 4.8441e-06 | 1.751e-06 | 89.4538 | [7 empty] | 0.01945% | 2.2828e-05
I7 | AF92A-Q | Kinase F/R + Probe | UNKNOWN | 28.5066 | 28.5553 | 0.06887 | 0.00027272 | 0.00026479 | 1.1211e-05 | 89.588 |  | -17.9268 | 10.6285 | 249177.6305 | 0.00063168 | 0.05876% | 0% | 0.06052% | 0
J7 | AF92A-Q | Kinase F/R + Probe | UNKNOWN | 28.604 | 28.5553 | 0.06887 | 0.00025686 | 0.00026479 | 1.1211e-05 | 88.9172 | [7 empty] | 0.057% | 0
A8 | Long kinase 0274-1 | Kinase F/R + Probe | STANDARD | 15.0204 | 15.0156 | 0.0068109 | 1 |  |  | 89.9905
B8 | Long kinase 0274-1 | Kinase F/R + Probe | STANDARD | 15.0108 | 15.0156 | 0.0068109 | 1 |  |  | 81.2702
C8 | Long kinase 0274-2 | Kinase F/R + Probe | STANDARD | 18.6012 | 19.1143 | 0.72554 | 0.1 |  |  | 90.3929
D8 | Long kinase 0274-2 | Kinase F/R + Probe | STANDARD | 19.6273 | 19.1143 | 0.72554 | 0.1 |  |  | 93.0761
E8 | Long kinase 0274-3 | Kinase F/R + Probe | STANDARD | 22.125 | 22.2588 | 0.18917 | 0.01 |  |  | 87.8439
F8 | Long kinase 0274-3 | Kinase F/R + Probe | STANDARD | 22.3925 | 22.2588 | 0.18917 | 0.01 |  |  | 89.1855
G8 | Long kinase 0274-4 | Kinase F/R + Probe | STANDARD | 26.7916 | 26.8741 | 0.11667 | 0.001 |  |  | 92.4053
H8 | Long kinase 0274-4 | Kinase F/R + Probe | STANDARD | 26.9566 | 26.8741 | 0.11667 | 0.001 |  |  | 81.6727
I8 | Long kinase 0274-5 | Kinase F/R + Probe | STANDARD | 30.2468 | 30.2379 | 0.012593 | 0.0001 |  |  | 92.5395
J8 | Long kinase 0274-5 | Kinase F/R + Probe | STANDARD | 30.229 | 30.2379 | 0.012593 | 0.0001 |  |  | 83.1484
K8 | Long kinase 0274-6 | Kinase F/R + Probe | STANDARD | 33.9081 | 33.6295 | 0.39401 | 1e-05 |  |  | 82.7459
L8 | Long kinase 0274-6 | Kinase F/R + Probe | STANDARD | 33.3509 | 33.6295 | 0.39401 | 1e-05 |  |  | 87.5756
M8 | NTC | Kinase F/R + Probe | NTC | Undetermined | [5 empty] | 90.5271
N8 | NTC | Kinase F/R + Probe | NTC | Undetermined | [5 empty] | 90.7954
O8 | NTC | Kinase F/R + Probe | NTC | Undetermined | [5 empty] | 89.7221
P8 | NTC | Kinase F/R + Probe | NTC | Undetermined | [5 empty] | 82.3435
M2 | 58550-MB | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 90.1246
N2 | 58550-MB | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 93.6127
M1 | 58550-PH | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 92.137
N1 | 58550-PH | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 89.8563
M3 | 58550-Q | Sialidase F/R 1 +probe | UNKNOWN | 36.4708 | 36.4708 |  | 3.6966e-07 | 3.6966e-07 |  | 92.8078
N3 | 58550-Q | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | 36.4708 |  |  |  |  | 87.3073
A2 | AF12A-MB | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 92.2711
B2 | AF12A-MB | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 92.4053
A1 | AF12A-PH | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | 34.5486 |  |  |  |  | 93.0761
B1 | AF12A-PH | Sialidase F/R 1 +probe | UNKNOWN | 34.5486 | 34.5486 |  | 1.2585e-06 | 1.2585e-06 |  | 92.9419
A3 | AF12A-Q | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 91.332
B3 | AF12A-Q | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 93.3444
E2 | AF26B-MB | Sialidase F/R 1 +probe | UNKNOWN | 32.8015 | 32.7436 | 0.08188 | 0.0038326 | 3.9794e-06 | 2.0758e-07 | 86.0999
F2 | AF26B-MB | Sialidase F/R 1 +probe | UNKNOWN | 32.6857 | 32.7436 | 0.08188 | 0.0041261 | 3.9794e-06 | 2.0758e-07 | 88.9172
E1 | AF26B-PH | Sialidase F/R 1 +probe | UNKNOWN | 31.9912 | 32.5042 | 0.72552 | 6.4237e-06 | 4.8819e-06 | 2.1804e-06 | 91.332
F1 | AF26B-PH | Sialidase F/R 1 +probe | UNKNOWN | 33.0172 | 32.5042 | 0.72552 | 3.3402e-06 | 4.8819e-06 | 2.1804e-06 | 84.2217
E3 | AF26B-Q | Sialidase F/R 1 +probe | UNKNOWN | 35.432 | 34.8005 | 0.89315 | 7.1668e-07 | 1.1599e-06 | 6.2681e-07 | 93.0761
F3 | AF26B-Q | Sialidase F/R 1 +probe | UNKNOWN | 34.1689 | 34.8005 | 0.89315 | 1.6031e-06 | 1.1599e-06 | 6.2681e-07 | 92.5395
I2 | AF92A-MB | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 90.5271
J2 | AF92A-MB | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 92.9419
I1 | AF92A-PH | Sialidase F/R 1 +probe | UNKNOWN | 32.926 | 32.2426 | 0.96641 | 3.5402e-06 | 5.9998e-06 | 3.4784e-06 | 91.4662
J1 | AF92A-PH | Sialidase F/R 1 +probe | UNKNOWN | 31.5593 | 32.2426 | 0.96641 | 8.4594e-06 | 5.9998e-06 | 3.4784e-06 | 92.2711
I3 | AF92A-Q | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 90.3929
J3 | AF92A-Q | Sialidase F/R 1 +probe | UNKNOWN | Undetermined | [5 empty] | 93.4786
A4 | Inf sialidase 2348-1 | Sialidase F/R 1 +probe | STANDARD | 13.2638 | 13.2724 | 0.012198 | 1 |  |  | 82.7459
B4 | Inf sialidase 2348-1 | Sialidase F/R 1 +probe | STANDARD | 13.2811 | 13.2724 | 0.012198 | 1 |  |  | 93.0761
C4 | Inf sialidase 2348-2 | Sialidase F/R 1 +probe | STANDARD | 16.8218 | 16.7773 | 0.062905 | 0.1 |  |  | 93.0761
D4 | Inf sialidase 2348-2 | Sialidase F/R 1 +probe | STANDARD | 16.7328 | 16.7773 | 0.062905 | 0.1 |  |  | 92.9419
E4 | Inf sialidase 2348-3 | Sialidase F/R 1 +probe | STANDARD | 20.4638 | 20.4432 | 0.029109 | 0.01 |  |  | 90.1246
F4 | Inf sialidase 2348-3 | Sialidase F/R 1 +probe | STANDARD | 20.4226 | 20.4432 | 0.029109 | 0.01 |  |  | 92.2711
G4 | Inf sialidase 2348-4 | Sialidase F/R 1 +probe | STANDARD | 24.0332 | 24.0774 | 0.062477 | 0.001 |  |  | 92.6736
H4 | Inf sialidase 2348-4 | Sialidase F/R 1 +probe | STANDARD | 24.1216 | 24.0774 | 0.062477 | 0.001 |  |  | 92.9419
I4 | Inf sialidase 2348-5 | Sialidase F/R 1 +probe | STANDARD | 27.596 | 27.8042 | 0.29445 | 0.0001 |  |  | 92.8078
J4 | Inf sialidase 2348-5 | Sialidase F/R 1 +probe | STANDARD | 28.0124 | 27.8042 | 0.29445 | 0.0001 |  |  | 89.3197
K4 | Inf sialidase 2348-6 | Sialidase F/R 1 +probe | STANDARD | 31.2867 | 31.2177 | 0.097551 | 1e-05 |  |  | 91.8687
L4 | Inf sialidase 2348-6 | Sialidase F/R 1 +probe | STANDARD | 31.1487 | 31.2177 | 0.097551 | 1e-05 |  |  | 90.1246
M4 | NTC | Sialidase F/R 1 +probe | NTC | Undetermined | [5 empty] | 92.8078
N4 | NTC | Sialidase F/R 1 +probe | NTC | Undetermined | [5 empty] | 91.8687
O4 | NTC | Sialidase F/R 1 +probe | NTC | Undetermined | [5 empty] | 93.2103
P4 | NTC | Sialidase F/R 1 +probe | NTC | Undetermined | [5 empty] | 90.7954
M10 | 58550-MB | SYBR uni | UNKNOWN | 11.3406 | 11.2934 | 0.066749 | 0.32751 | 0.3368 | 0.013139 | 83.8192
N10 | 58550-MB | SYBR uni | UNKNOWN | 11.2462 | 11.2934 | 0.066749 | 0.3461 | 0.3368 | 0.013139 | 83.8192
M9 | 58550-PH | SYBR uni | UNKNOWN | 7.1013 | 7.0388 | 0.088393 | 3.9042 | 4.0522 | 0.2093 | 83.5509
N9 | 58550-PH | SYBR uni | UNKNOWN | 6.9763 | 7.0388 | 0.088393 | 4.2002 | 4.0522 | 0.2093 | 83.5509
M11 | 58550-Q | SYBR uni | UNKNOWN | 14.9511 | 14.573 | 0.53478 | 0.03968 | 0.050712 | 0.015601 | 83.8192
N11 | 58550-Q | SYBR uni | UNKNOWN | 14.1948 | 14.573 | 0.53478 | 0.061743 | 0.050712 | 0.015601 | 83.685
A10 | AF12A-MB | SYBR uni | UNKNOWN | 9.3417 | 9.7927 | 0.63782 | 1.0537 | 0.8378 | 0.30534 | 83.5509
B10 | AF12A-MB | SYBR uni | UNKNOWN | 10.2437 | 9.7927 | 0.63782 | 0.62189 | 0.8378 | 0.30534 | 83.685
A9 | AF12A-PH | SYBR uni | UNKNOWN | 9.266 | 9.6299 | 0.51463 | 1.1014 | 0.91057 | 0.26988 | 84.0875
B9 | AF12A-PH | SYBR uni | UNKNOWN | 9.9938 | 9.6299 | 0.51463 | 0.71974 | 0.91057 | 0.26988 | 83.9534
A11 | AF12A-Q | SYBR uni | UNKNOWN | 10.1372 | 10.0835 | 0.076031 | 0.66183 | 0.6833 | 0.030361 | 83.8192
B11 | AF12A-Q | SYBR uni | UNKNOWN | 10.0297 | 10.0835 | 0.076031 | 0.70477 | 0.6833 | 0.030361 | 83.685
E10 | AF26B-MB | SYBR uni | UNKNOWN | 7.5684 | 7.598 | 0.041906 | 2.9713 | 2.9207 | 0.071544 | 82.4776
F10 | AF26B-MB | SYBR uni | UNKNOWN | 7.6276 | 7.598 | 0.041906 | 2.8701 | 2.9207 | 0.071544 | 82.6118
E9 | AF26B-PH | SYBR uni | UNKNOWN | 8.0127 | 8.0574 | 0.063242 | 2.2916 | 2.2332 | 0.082544 | 82.7459
F9 | AF26B-PH | SYBR uni | UNKNOWN | 8.1021 | 8.0574 | 0.063242 | 2.1748 | 2.2332 | 0.082544 | 82.6118
E11 | AF26B-Q | SYBR uni | UNKNOWN | 9.9257 | 9.874 | 0.07307 | 0.74897 | 0.77229 | 0.032979 | 82.6118
F11 | AF26B-Q | SYBR uni | UNKNOWN | 9.8223 | 9.874 | 0.07307 | 0.79561 | 0.77229 | 0.032979 | 82.6118
I10 | AF92A-MB | SYBR uni | UNKNOWN | 16.7803 | 16.5024 | 0.39311 | 0.01362 | 0.016235 | 0.0036984 | 82.4776
J10 | AF92A-MB | SYBR uni | UNKNOWN | 16.2244 | 16.5024 | 0.39311 | 0.01885 | 0.016235 | 0.0036984 | 82.6118
I9 | AF92A-PH | SYBR uni | UNKNOWN | 9.9938 | 10.5616 | 0.80299 | 0.71974 | 0.54515 | 0.2469 | 83.0142
J9 | AF92A-PH | SYBR uni | UNKNOWN | 11.1294 | 10.5616 | 0.80299 | 0.37056 | 0.54515 | 0.2469 | 83.0142
I11 | AF92A-Q | SYBR uni | UNKNOWN | 10.4623 | 10.6285 | 0.23512 | 0.54731 | 0.49896 | 0.068368 | 82.8801
J11 | AF92A-Q | SYBR uni | UNKNOWN | 10.7948 | 10.6285 | 0.23512 | 0.45062 | 0.49896 | 0.068368 | 82.8801
A12 | Long kinase 0274-1 | SYBR uni | STANDARD | 9.6006 | 9.5905 | 0.014304 | 1 |  |  | 84.0875
B12 | Long kinase 0274-1 | SYBR uni | STANDARD | 9.5804 | 9.5905 | 0.014304 | 1 |  |  | 83.9534
C12 | Long kinase 0274-2 | SYBR uni | STANDARD | 13.4527 | 13.4527 |  | 0.1 |  |  | 83.5509
D12 | Long kinase 0274-2 | SYBR uni | STANDARD | Undetermined | 13.4527 |  | 0.1 |  |  | 70.8059
E12 | Long kinase 0274-3 | SYBR uni | STANDARD | 17.0786 | 17.0373 | 0.058516 | 0.01 |  |  | 84.2217
F12 | Long kinase 0274-3 | SYBR uni | STANDARD | 16.9959 | 17.0373 | 0.058516 | 0.01 |  |  | 83.685
H12 | Long kinase 0274-4 | SYBR uni | STANDARD | 20.8823 | 20.8823 |  | 0.001 |  |  | 83.9534
J12 | Long kinase 0274-5 | SYBR uni | STANDARD | 25.6245 | 25.6245 |  | 0.0001 |  |  | 84.0875
K12 | Long kinase 0274-6 | SYBR uni | STANDARD | 29.1952 | 29.1952 |  | 1e-05 |  |  | 84.3558
M12 | NTC | SYBR uni | NTC | Undetermined | [5 empty] | 74.8306 | 61.6831
N12 | NTC | SYBR uni | NTC | 38.9721 | [5 empty] | 74.294
O12 | NTC | SYBR uni | NTC | 39.4034 | [5 empty] | 74.1598
P12 | NTC | SYBR uni | NTC | 36.2163 | [5 empty] | 74.5623