## Bacillus subtilis
List of conserved mass peaks in mass spectra of Bacillus subtilis strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of 67% of the strains.
Conserved mass peaks are in red.
Conserved mass peaks are averaged across strains with the specific mass peak.
Bacillus subtilis
Conserved mass peaks (m/z)
2182 | Peak list of ATCC 6051 | Peak list of ATCC 9524 | Peak list of ATCC 11774 | Peak list of Proc6a | Peak list of Proc6b | Peak list of Proc6c | Peak list of Proc721 | Peak list of ProcB6c | Peak list of ATCC 6633
2745 | 2110.46 | 2106.9 | 2184.81 | 2056.26 | 2107.65 | 2055.72 | 2056.44 | 2056.95 | 2176.21
3046 | 2181.26 | 2177.85 | 2448.2 | 2178.62 | 2148.8 | 2184.49 | 2152.39 | 2185.51 | 2746.54
3342 | 2452.48 | 2447.67 | 2744.77 | 2536 | 2186.56 | 2458.36 | 2178.28 | 2515.19 | 3322.05
3725 | 2747.22 | 2743.91 | 3045.96 | 2744.86 | 2286.02 | 2515.39 | 2183.8 | 2744.55 | 3340.07
3859 | 2786.25 | 2782.81 | 3339.56 | 2783.85 | 2414.96 | 2784.04 | 2536.5 | 2783.73 | 3359.74
3884 | 3048.53 | 3045.36 | 3645.39 | 3017.88 | 2505.13 | 3017.45 | 2545.22 | 3016.81 | 3421.85
4305 | 3116.26 | 3113.51 | 3725.69 | 3045.68 | 2545.96 | 3045.57 | 2744.84 | 3044.88 | 3867.27
4572 | 3342.89 | 3339.17 | 3858.81 | 3584.46 | 2617.39 | 3230.24 | 2783.4 | 3337.15 | 3888.64
4944 | 3385.04 | 3382.6 | 3878.63 | 3725.12 | 2744.97 | 3253.43 | 2950.14 | 3723.22 | 4019.1
5004 | 3728.02 | 3725.43 | 4304.95 | 3857.79 | 2975.33 | 3725.33 | 3045.5 | 3855.05 | 4304.53
5031 | 3860.63 | 3858.19 | 4584.24 | 3887.61 | 3013.58 | 3857.6 | 3253.73 | 3886.02 | 4719.08
6506 | 3880.77 | 3878.23 | 4944.62 | 4042.07 | 3045.83 | 4039.8 | 3298.83 | 4036.76 | 4942.21
6599 | 3890.46 | 3989.81 | 5004.96 | 4111.42 | 3221.95 | 4304.81 | 3339.31 | 4302.22 | 5002.02
6676 | 3902.52 | 4111.57 | 5030.93 | 4305.23 | 3340.82 | 4569.42 | 3584.9 | 4565.05 | 5223.14
7715 | 3992.31 | 4242.63 | 5313.15 | 4422.18 | 3353.36 | 5002.52 | 3724.56 | 4996.02 | 5897.24
| 4114.31 | 4305.27 | 6505.67 | 4568.91 | 3387.4 | 5031.55 | 3857.61 | 5026.62 | 6504.36
| 4245.41 | 4570.29 | 6601.36 | 4943.22 | 3411.71 | 5194.43 | 4111.5 | 5188.94 | 6594.67
| 4307.68 | 4944.12 | 6674.42 | 5002.23 | 3483.27 | 5313.06 | 4305.07 | 5307.83 | 6675.49
| 4571.65 | 5005.48 | 6939.97 | 5030.71 | 3585.21 | 6461.93 | 4421.11 | 5567.76 | 7725.36
| 4945.85 | 5031.26 | 7485.47 | 5193.56 | 3888.25 | 6507.76 | 4734.85 | 5895.12 | 9430.65
| 5005.3 | 6461.69 | 7712.4 | 5312.27 | 4082.25 | 7717.3 | 4944.11 | 6452.27 | 9879.24
| 5033 | 6507.43 | 9161.75 | 5572.32 | 4304.96 | 9140.06 | 5004.97 | 6499.38
| 6462.61 | 6599.98 | 9886.38 | 5900.65 | 4736.76 | 9600.82 | 5223.97 | 6593.83
| 6508.64 | 6678.27 |  | 6506.64 | 4944.11 | 9893.69 | 5573.08 | 6670.21
| 6602.84 | 6942.26 |  | 6599.97 | 5003.95 |  | 5901.3 | 6932.63
| 6678.29 | 7713.99 |  | 6675.74 | 5223.29 |  | 6507.39 | 7704.19
| 6942.02 | 9137.77 |  | 7192.01 | 5572.83 |  | 6599.23 | 9125.31
| 7715.52 | 9887.12 |  | 7713.64 | 5900.92 |  | 6678.02
| 9137.74 |  |  | 9137.45 | 6507.17 |  | 7193.28
| 9887.74 |  |  | 9887.04 | 6598.24 |  | 7714.95
6677.98
7717.92
9467.35
9889.34

## Bacillus thuringiensis
List of conserved mass peaks in mass spectra of Bacillus thuringiensis strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of all three strains.
Conserved mass peaks are in red.
Bacillus thuringiensis
Conserved mass peaks (m/z)
2168 | Peak list of ATCC 10792 | Peak list of ATCC 33679 | Peak list of ATCC 35866
3090 | 2167.76 | 2167.44 | 2169.68
3118 | 2240.53 | 2532.95 | 2535.49
3652 | 2277.64 | 2661.97 | 2664.71
3708 | 2586.25 | 2809.3 | 2812.35
3746 | 2788.8 | 3088.89 | 3091.31
4333 | 2827.62 | 3116.82 | 3119.45
4551 | 3089.6 | 3561.55 | 3563.62
4993 | 3116.68 | 3651.46 | 3653.49
5474 | 3650.28 | 3707.88 | 3709.91
| 3706.38 | 3745.31 | 3747.7
| 3744.36 | 4030.13 | 4335.52
| 4331.48 | 4333.35 | 4552.8
| 4548.42 | 4551.44 | 4994.56
| 4992.08 | 4992.08 | 5293.88
| 5474.69 | 5052.78 | 5474.72
|  | 5291.61 | 6714.01
5473.64
6714.85

## Carnobacterium maltaaromaticum
List of conserved mass peaks in mass spectra of Carnobacterium maltaaromaticum strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of all four strains.
Conserved mass peaks are in red.
Carnobacterium maltaaromaticum
Conserved mass peaks (m/z)
2174 | Peak list of ATCC 27865 | Peak list of ATCC 35586 | Peak list of Proc3T4 | Peak list of Proc4T4
2902 | 2172.97 | 2173.74 | 2174.5 | 2173.64
3238 | 2901.46 | 2902.14 | 2902.83 | 2902.03
3350 | 3237.71 | 3239.13 | 3238.89 | 3173.96
3436 | 3349.16 | 3350.58 | 3350.47 | 3237.7
4347 | 3435.99 | 3436.62 | 3436.94 | 3349.37
5804 | 4101.31 | 4114.74 | 4102.52 | 3435.8
6347 | 4345.93 | 4347.5 | 4347.76 | 3721.31
6475 | 5659.39 | 4784 | 4783.76 | 4101.19
6872 | 5803.91 | 5805.47 | 5803.21 | 4346.09
| 6209.95 | 6210.88 | 6347.3 | 5803.12
| 6347.27 | 6347.05 | 6475.08 | 6346.54
| 6474.56 | 6476.6 | 6698.47 | 6474.53
| 6697.89 | 6699.68 | 6871.2 | 6870.38
| 6871.44 | 6873.19
| 6927.45 | 7534.46
7441.11
9083.43

## Escherichia coli
List of conserved mass peaks in mass spectra of Escherichia coli strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of the two strains.
Conserved mass peaks are in red.
Escherichia coli
Conserved mass peaks (m/z)
2184 | Peak list of NCTC 50271 | Peak list of NCTC 50365
2692 | 2183.9 | 2183.62
2836 | 2549.6 | 2691.42
3129 | 2691.85 | 2835.51
3159 | 2835.87 | 3128.33
3580 | 3128.84 | 3158.63
3638 | 3159.23 | 3206.34
3674 | 3580.14 | 3579.8
3936 | 3638.35 | 3637.69
4186 | 3674.36 | 3674.05
4365 | 3935.81 | 3936.26
4769 | 4185.91 | 4185.37
4778 | 4365.37 | 4364.77
5097 | 4769.21 | 4438.9
5151 | 4777.77 | 4497.54
5381 | 4871.61 | 4768.43
6255 | 5097 | 4777.23
6316 | 5151.29 | 5096.3
6411 | 5381.55 | 5150.45
7158 | 5613.38 | 5380.66
7274 | 6255.75 | 6254.58
7869 | 6316.69 | 6315.62
8370 | 6411.59 | 6410.82
8995 | 7157.99 | 6507.21
9226 | 7274.48 | 7157.63
9543 | 7868.46 | 7273.59
| 8328.41 | 7870.4
| 8370.72 | 8119
| 8433.22 | 8369.32
| 8881.04 | 8992.76
| 8997.4 | 9225.82
| 9066.28 | 9543.13
9226.12
9543.35
9742.91

## Proteus vulgaris
List of conserved mass peaks in mass spectra of Proteus vulgaris strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of all five strains.
Conserved mass peaks are in red.
Proteus vulgaris
Conserved mass peaks (m/z) | Peak list of ATCC 9484 | Peak list of Sard1 | Peak list of Sard2 | Peak list of Sard3 | Peak list of Sard4
2243 | 2243.02 | 2242.85 | 2242.79 | 2242.1 | 2242.79
2750 | 2756.12 | 2748.12 | 2748.23 | 2747.53 | 2747.9
2826 | 2826.13 | 2825.39 | 2825.82 | 2755.45 | 2825.64
3138 | 3137.47 | 3138.03 | 3137.89 | 2825.17 | 3137.75
3554 | 3554.64 | 3252.09 | 3554.49 | 3137.33 | 3554.23
3637 | 3637.69 | 3554.41 | 3637.52 | 3145.7 | 3637.41
4185 | 3908.88 | 3637.85 | 3954.24 | 3554.27 | 3954.11
4484 | 3982.9 | 3907.44 | 4185.52 | 3636.79 | 4185.36
4738 | 4186.21 | 3954.56 | 4484.6 | 3644.07 | 4484.38
4770 | 4484.75 | 4185.05 | 4737.85 | 3953.37 | 4737.76
4802 | 4737.77 | 4484.54 | 4768.4 | 4184.02 | 4769.85
5131 | 4770.95 | 4738.26 | 4802.54 | 4483.36 | 4803.13
6274 | 4796.96 | 4770.76 | 5130.18 | 4737.11 | 5130.75
7274 | 5130.52 | 4804.11 | 5495.92 | 4769.38 | 5393.68
9477 | 5510.96 | 5130.76 | 6274.87 | 4804.59 | 5495.39
| 6271.2 | 5395.04 | 6504.05 | 5018.14 | 6104.41
| 6504.92 | 5496.02 | 7107.18 | 5130.49 | 6273.98
| 7107.96 | 6274.28 | 7273.65 | 5495.18 | 6503.08
| 7273.86 | 7108.03 | 7908.69 | 6274.46 | 7107.91
| 7816.65 | 7274.2 | 9476.8 | 6501.19 | 7273.73
| 7965.29 | 7908.74 |  | 7272.4 | 7817.02
| 8370.57 | 9480.71 |  | 7906.89 | 7908.06
| 9476.56 |  |  | 9475.6 | 9475.01
9542.6

## Pseudomonas fluorescens
List of conserved mass peaks in mass spectra of Pseudomonas fluorescens strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of all six strains.
Conserved mass peaks are in red.
Pseudomonas fluorescens
Conserved mass peaks (m/z) | Peak list of ATCC 13525 | Peak list of ATCC 17397 | Peak list of Turb28 | Peak list of Turb46 | Peak list of Turb52 | Peak list of Turb64
2218 | 2218.13 | 2218.46 | 2146.68 | 2217.39 | 2217.67 | 2217.64
2534 | 2534.37 | 2535.19 | 2217.55 | 2533.6 | 2534.1 | 2534.05
3041 | 3041.18 | 3042.39 | 2264.03 | 3040.61 | 3040.61 | 3041.11
3310 | 3313.31 | 3092.5 | 2533.88 | 3196.99 | 3197.43 | 3197.58
3586 | 3410.12 | 3320.97 | 2615.63 | 3305.29 | 3306.02 | 3306.34
4128 | 3439.65 | 3421.51 | 2863.63 | 3406.03 | 3406.53 | 3406.16
4433 | 3585.49 | 3587.57 | 3040.75 | 3586.04 | 3586.59 | 3586.53
4980 | 3618.21 | 4129.03 | 3197.45 | 3768.33 | 4128.24 | 4128.41
5066 | 4127.14 | 4434.32 | 3279.44 | 4128.32 | 4165 | 4164.71
6080 | 4172.41 | 4776.92 | 3305.38 | 4164.29 | 4433.73 | 4433.81
6393 | 4432.9 | 4905.49 | 3406.58 | 4201.95 | 4980.5 | 4531.23
7172 | 4978.92 | 4978.51 | 3586.31 | 4432.73 | 5066.93 | 4981.46
| 5065.27 | 5067.16 | 3618.18 | 4531.45 | 5570.51 | 5025.13
| 5671.68 | 5662.46 | 3769.28 | 4910.58 | 5650.1 | 5066.99
| 5802.48 | 6081.58 | 4127.6 | 4979.35 | 6079.88 | 5570.9
| 6078.9 | 6182.15 | 4164.35 | 5024.03 | 6393.33 | 5650.72
| 6264.15 | 6394.48 | 4433.1 | 5066.18 | 6610.97 | 6081.48
| 6391.72 | 6638.75 | 4531.64 | 5571.02 | 7172.54 | 6393.62
| 6621.13 | 7173.86 | 4910.69 | 5649.83 | 8329.14 | 6611.33
| 7169.58 | 8253.78 | 4980.32 | 6080.24 | 8404.17 | 7172.21
| 7593.99 | 8389.35 | 5023.32 | 6392.7 |  | 8330.87
| 8250.18 | 8507.78 | 5066.2 | 6611.17 |  | 8403.79
| 8341.15 | 9547.99 | 5101.41 | 7171.35
| 8817.33 | 9802.82 | 5570.12 | 8330.48
| 9059.07 |  | 5649.85 | 8404.81
| 9549.66 |  | 6080.2 | 9063.62
| 9809.05 |  | 6393.94 | 9820.2
| 9950.38 |  | 6610.19
7171.94
7234.88
8328.98
8403.79
9061.55
9820.9

## Pseudomonas fragi
List of conserved mass peaks in mass spectra of Pseudomonas fragi strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of six of the seven strains.
Conserved mass peaks are in red.
Pseudomonas fragi
Conserved mass peaks (m/z) | Peak list of ATCC 4973 | Peak list of Seab03 | Peak list of Seab22 | Peak list of Seab23 | Peak list of Turb32 | Peak list of Turb43 | Peak list of Turb47
2218 | 2218.25 | 2217.66 | 2217.55 | 2217.71 | 2218.02 | 2217.79 | 2217.82
2534 | 2534.5 | 2534.14 | 2533.73 | 2533.96 | 2396.24 | 2534.22 | 2534.19
3023 | 3023.51 | 3022.73 | 3022.57 | 2832.65 | 2534.34 | 2675.91 | 2840.26
3306 | 3306.55 | 3195.58 | 3195.99 | 3023.02 | 2840.56 | 3023.3 | 3004.94
3594 | 3594.14 | 3305.54 | 3304.63 | 3306.05 | 3023.3 | 3198.17 | 3023.19
4128 | 3619.02 | 3592.59 | 3592.68 | 3597.88 | 3306.42 | 3306.4 | 3306.1
4433 | 3802.55 | 3793.56 | 4126.73 | 3617.4 | 3593.4 | 3419.82 | 3566.2
4946 | 4128.54 | 4126.58 | 4432.22 | 3801.01 | 3741.36 | 3594.07 | 3592.08
5066 | 4434.25 | 4432.32 | 4559.82 | 4126.71 | 4128.35 | 3618.78 | 3741.1
6044 | 4466.35 | 4945.07 | 4937.92 | 4432.58 | 4434.69 | 4128.11 | 3794.54
6610 | 4951.58 | 5064.76 | 5065.07 | 4943.55 | 4949.76 | 4187.58 | 3871.25
7186 | 5067.2 | 5674.63 | 5347.24 | 5065.44 | 5024.89 | 4402.08 | 4127.74
8254 | 5660.24 | 6006.17 | 5676.11 | 5662.64 | 5067.56 | 4434.3 | 4400.9
| 6045.46 | 6041.56 | 6042.2 | 6042.89 | 5679.6 | 4569.68 | 4434.02
| 6379.59 | 6387.67 | 6392.44 | 6376.04 | 6008.8 | 4941.35 | 4452.05
| 6611.34 | 6607.58 | 6607.74 | 6608.14 | 6045.86 | 5025.02 | 4950.27
| 7186.2 | 7180.51 | 7186.26 | 7192.64 | 6394.05 | 5067.4 | 5066.89
| 7236.31 | 7478.33 | 8251.55 | 7448.67 | 6611.98 | 5350.84 | 5524.12
| 7603.59 | 7584.42 | 8374.17 | 7599.18 | 7185.56 | 5679.14 | 5678.83
| 8258.66 | 8248.91 | 9124.91 | 8250.47 | 7482.47 | 6046.1 | 6008.74
| 8343.2 | 8898.8 | 9873.79 | 9015.19 | 7588.81 | 6396.74 | 6044.13
| 8932.11 | 9887.49 |  | 9889.83 | 7743.63 | 6611.42 | 6610.9
| 9130.84 |  |  |  | 8257.25 | 7188.59 | 7185.28
| 9560.8 |  |  |  | 8906.24 | 8257.04 | 7481.68
| 9896.74 |  |  |  |  | 9135.63 | 7588.16
7741.7
8905.79

## Pseudomonas putida
List of conserved mass peaks in mass spectra of Pseudomonas putida strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of all four strains.
Conserved mass peaks are in red.
Pseudomonas putida
Conserved mass peaks (m/z) | Peak list of ATCC 12633 | Peak list of ATCC 17453 | Peak list of Seab04 | Peak list of Seab11
5137 | 2217.99 | 2569.61 | 2890.61 | 2937.11
7171 | 2369.8 | 3009.75 | 3070.45 | 3023.63
8237 | 2570.18 | 3023.33 | 4432.42 | 4120.04
| 3334.4 | 3586.3 | 4738.43 | 4432.63
| 3587.68 | 4119.03 | 5136.12 | 4737.1
| 3811.35 | 4126.38 | 5628.34 | 5136.19
| 4082.54 | 4434.13 | 5777.67 | 5629.18
| 4121.92 | 5137.76 | 5988.14 | 5872.29
| 4337.7 | 6018.8 | 6137.9 | 5988.12
| 4435.01 | 6045.35 | 6317.58 | 6044.71
| 4738.73 | 6320.07 | 6606.99 | 6662.18
| 5138.92 | 6637.74 | 7166.21 | 7169.29
| 5355.65 | 7173.52 | 7461.82 | 7270.03
| 5631.79 | 7395.33 | 7599.67 | 7331.24
| 5991.17 | 7598.87 | 8054.28 | 7417.99
| 6134.23 | 7811.86 | 8146.73 | 7636.59
| 6333.91 | 8060.09 | 8228.4 | 8078.17
| 6665.06 | 8164.4 | 8724.94 | 8238.29
| 7173.76 | 8237.58 |  | 9536.36
| 7450.7 | 8731.56
| 7620.85 | 9541.24
8081.53
8166.51
8242.79
8672.35
9132.55
9232.21
9545.16

## Pseudomonas syringae
List of conserved mass peaks in mass spectra of Pseudomonas syringae strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of all three strains.
Conserved mass peaks are in red.
Pseudomonas syringae
Conserved mass peaks (m/z) | Peak list of ATCC 19304 | Peak list of ATCC 19310 | Peak list of Seab02
2219 | 2218.98 | 2218.81 | 2217.71
2564 | 2563.6 | 2563.62 | 2563.36
3587 | 2988.21 | 2988.39 | 3029.91
3785 | 3329.3 | 3329.73 | 3283.04
4128 | 3586.92 | 3587.44 | 3305.42
4434 | 3618.49 | 3619.73 | 3587.12
4832 | 3781.27 | 3635.03 | 3784.88
5124 | 4127.81 | 3790.01 | 3803.28
5673 | 4434.01 | 4128.61 | 3971.19
5978 | 4835.21 | 4434.79 | 4071.21
7172 | 4910.66 | 4553.87 | 4128.84
9109 | 4937.76 | 4836.74 | 4433.9
| 5123.34 | 4899.87 | 4559.07
| 5645.29 | 4938.4 | 4824.11
| 5671.26 | 5124.62 | 4883.48
| 5972.74 | 5655.32 | 5124.01
| 6340.97 | 5670.58 | 5542.99
| 6419.84 | 5806.93 | 5611.99
| 6651.03 | 5974.41 | 5677.86
| 7050.78 | 6356.53 | 5924.31
| 7169.92 | 6421.91 | 5986.91
| 7234.24 | 6653.71 | 6059.67
| 7441.24 | 7053.86 | 6320.54
| 7558.46 | 7172.86 | 6610.79
| 7608.87 | 7577.82 | 7173.39
| 7877.56 | 8070.77 | 7809.89
| 8251.49 | 8254.53 | 7941.5
| 8429.51 | 9104.3 | 8142.46
| 8797.11 | 9670.45 | 8208.77
| 9104.68 | 9797.76 | 9116.83
| 9663.31 | 9875.56 | 9646.28
| 9874.55 |  | 9761.81

## Serratia marcescens
List of conserved mass peaks in mass spectra of Serratia marcescens strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of the two strains.
Conserved mass peaks are in red.
Serratia marcescens
Conserved mass peaks (m/z) | Peak list of ATCC 274 | Peak list of Proc7T6
2691 | 2690.88 | 2175.42
2826 | 2825.81 | 2691.11
3962 | 3961.64 | 2825.41
4185 | 4184.37 | 3963
4349 | 4348.98 | 4185.97
4606 | 4605.56 | 4348.88
4768 | 4767.21 | 4606.44
5359 | 4780.4 | 4769.38
6116 | 5222.31 | 4983.26
6226 | 5337.59 | 5380.37
7924 | 5379.88 | 6115.6
9537 | 6115.85 | 6226.09
| 6225.69 | 7925.55
| 6441.74 | 9537.52
6544.85
7207.43
7271.83
7923.18
8367.62
9209.87
9537.01
9930.37

## Serratia proteamaculans
List of conserved mass peaks in mass spectra of Serratia proteamaculans strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of the three strains.
Conserved mass peaks are in red.
Serratia proteamaculans
Conserved mass peaks (m/z) | Peak list of Proc5T6 | Peak list of ProcB1 | Peak list of ProcB4
2176 | 2175.37 | 2175.72 | 2175.45
2698 | 2697.53 | 2698.58 | 2698.13
2825 | 2825.68 | 2825.49 | 2824.88
3948 | 3009.08 | 3120.09 | 3029.82
4183 | 3947.97 | 3948.5 | 3119.55
4347 | 4184.58 | 4182.37 | 3947.88
4781 | 4349.02 | 4346.52 | 4181.74
5393 | 4782.23 | 4489.35 | 4345.76
6236 | 5396.01 | 4639.16 | 4638.32
6410 | 6014.73 | 4780.29 | 4779.56
7892 | 6238.93 | 4913.8 | 4914.07
9557 | 6413 | 5392.3 | 5391.35
| 7299.35 | 6055.52 | 6054.42
| 7894.7 | 6234.91 | 6233.85
| 9564.1 | 6408.48 | 6407.22
|  | 7283.1 | 7283.28
|  | 7891.92 | 7890.62
|  | 9553.46 | 9552.23

## Staphylococcus aureus
List of conserved mass peaks in mass spectra of Staphylococcus aureus strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of the three strains.
Conserved mass peaks are in red.
Staphylococcus aureus
Conserved mass peaks (m/z) | Peak list of ATCC 9144 | Peak list of ATCC 35845 | Peak list of Proc1010
3444 | 2752.79 | 2753.49 | 2278.68
4304 | 2868.66 | 2869.49 | 2288.72
5031 | 3275.22 | 3275.95 | 2306.88
6887 | 3443.2 | 3444.1 | 2607.93
| 4303.52 | 4304.48 | 2636.06
| 5029.81 | 5031.13 | 2674.16
| 5416.9 | 5505.55 | 2979.17
| 5504.14 | 6550.61 | 3007.3
| 6549.01 | 6886.98 | 3444.47
| 6885.29 |  | 4303.99
5031.55
5524.05
6887.43

## Stenotrophomonas maltophilia
List of conserved mass peaks in mass spectra of Stenotrophomonas maltophilia strains
Note: Given the error in calibration of MALDI-TOF MS, a tolerance of 10 Da is assumed in the discovery of conserved mass peak.
A mass peak is conserved if it is present in the peak list of six of the eight strains.
Conserved mass peaks are in red.
Stenotrophomonas maltophilia
Conserved mass peaks (m/z) | Peak list of 5PC6 | Peak list of 15MF | Peak list of 25MC6 | Peak list of ATCC 13637 | Peak list of Seab01 | Peak list of Seab05 | Peak list of Seab06 | Peak list of Seab08
2631 | 2006.41 | 2005.81 | 2004.93 | 2268.73 | 2057.43 | 2444.76 | 2267.97 | 2267.68
2779 | 2134.87 | 2135.08 | 2061.68 | 2779.94 | 2436.02 | 2627.94 | 2635.5 | 2780.83
4242 | 2333.74 | 2266.95 | 2082.36 | 3049.81 | 2626.23 | 2772.18 | 2781.37 | 3050.46
5266 | 2436.6 | 2392.6 | 2101.74 | 4221.58 | 2778.82 | 3061.93 | 3051.01 | 3687.24
9583 | 2627.29 | 2428.95 | 2134.09 | 4239.31 | 2986.94 | 3619.25 | 4241.04 | 4242.23
| 2780.15 | 2635.06 | 2263.09 | 4535.98 | 3081.5 | 3717.43 | 4856.84 | 4787.85
| 3029.54 | 2780.14 | 2391.93 | 4664.87 | 3500.77 | 4243.49 | 5229.91 | 4797.62
| 3083.76 | 3049.99 | 2428.14 | 4855.3 | 3550.09 | 4655.98 | 5268.82 | 4856.03
| 3552.74 | 3521.91 | 2634.05 | 5157.45 | 3606.84 | 4791.37 | 5884.12 | 5164.34
| 3609.47 | 3540.97 | 2778.97 | 5267.81 | 3698.85 | 4886.81 | 6099.94 | 5268.75
| 3700.49 | 3586.11 | 3035.27 | 5884.05 | 4240.04 | 5253.06 | 6228.65 | 5888.69
| 4243.31 | 3686.97 | 3530.65 | 6097.53 | 4498.23 | 5928.2 | 7043.99 | 5939.67
| 4805.95 | 4242.56 | 3583.78 | 6240.64 | 4642.31 | 6117.73 | 7165.54 | 6098.51
| 4872.57 | 4435.47 | 3685.58 | 6858.62 | 4765.47 | 6356.32 | 7374.13 | 6228.09
| 4919.35 | 4447.42 | 4222.56 | 7040.89 | 4801.62 | 6985.37 | 8470.18 | 6864.68
| 5226.46 | 4796.13 | 4240.39 | 7080.04 | 4868.79 | 7085.52 | 8877.61 | 7042.53
| 5253.25 | 4856.24 | 4789.41 | 7147.27 | 4917.05 | 7139.74 | 9325.6 | 7080.46
| 5986.2 | 5268.9 | 4836.77 | 7169.2 | 5248.6 | 7237.69 | 9582.17 | 7149.46
| 6057.12 | 5888.19 | 4854.7 | 7372.08 | 5973.8 | 7429.3 |  | 7170.2
| 6167.42 | 5938.28 | 5267.18 | 8015.08 | 6160.71 | 8483.16 |  | 7372.81
| 6215.29 | 6098.92 | 5885.44 | 8444.72 | 6997.73 | 9308.58 |  | 8015.99
| 7006.45 | 6863.74 | 6068.95 | 9329 | 7104.94 | 9834.17 |  | 8462.74
| 7113.67 | 7044.05 | 6863.76 | 9579.36 | 7209.3 |  |  | 8879.75
| 7219.14 | 7080.65 | 7029.71 |  | 7390.85 |  |  | 9317.65
| 7397.9 | 7165.51 | 7060.31 |  | 8476.65 |  |  | 9580.76
|  | 7372.67 | 7371.15 |  | 8866.42
|  | 8484.04 | 8445.38 |  | 8899.39
|  | 9315.71 | 9318.85 |  | 8989.67
|  | 9582.44 | 9578.49 |  | 9279.85
9522.97
9597.64
9839.27

## Conserved mass peaks
Comparison of conserved mass peaks between different bacterial species
| Bacillus subtilis | Bacillus thuringiensis | Carnobacterium maltaaromaticum | Escherichia coli | Proteus vulgaris | Pseudomonas fluorescens | Pseudomonas fragi | Pseudomonas putida | Pseudomonas syringae | Serratia marcescens | Serratia proteamaculans | Staphylococcus aureus | Stenotrophomonas maltophilia
| Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z)
| 2182 | 2168 | 2174 | 2184 | 2243 | 2218 | 2218 | 5137 | 2219 | 2691 | 2176 | 3444 | 2631
| 2745 | 3090 | 2902 | 2692 | 2750 | 2534 | 2534 | 7171 | 2564 | 2826 | 2698 | 4304 | 2779
| 3046 | 3118 | 3238 | 2836 | 2826 | 3041 | 3023 | 8237 | 3587 | 3962 | 2825 | 5031 | 4242
| 3342 | 3652 | 3350 | 3129 | 3138 | 3310 | 3306 |  | 3785 | 4185 | 3948 | 6887 | 5266
| 3725 | 3708 | 3436 | 3159 | 3554 | 3586 | 3594 |  | 4128 | 4349 | 4183 |  | 9583
| 3859 | 3746 | 4347 | 3580 | 3637 | 4128 | 4128 |  | 4434 | 4606 | 4347
| 3884 | 4333 | 5804 | 3638 | 4185 | 4433 | 4433 |  | 4832 | 4768 | 4781
| 4305 | 4551 | 6347 | 3674 | 4484 | 4980 | 4946 |  | 5124 | 5359 | 5393
| 4572 | 4993 | 6475 | 3936 | 4738 | 5066 | 5066 |  | 5673 | 6116 | 6236
| 4944 | 5474 | 6872 | 4186 | 4770 | 6080 | 6044 |  | 5978 | 6226 | 6410
| 5004 |  |  | 4365 | 4802 | 6393 | 6610 |  | 7172 | 7924 | 7892
| 5031 |  |  | 4769 | 5131 | 7172 | 7186 |  | 9109 | 9537 | 9557
| 6506 |  |  | 4778 | 6274 |  | 8254
| 6599 |  |  | 5097 | 7274
| 6676 |  |  | 5151 | 9477
| 7715 |  |  | 5381
6255
6316
6411
7158
7274
7869
8370
8995
9226
9543

## Pseudomonas genus
Conserved mass peaks in Pseudomonas genus
Conserved mass peaks in Pseudomonas genus | Pseudomonas fluorescens | Pseudomonas fragi | Pseudomonas putida | Pseudomonas syringae
2218 | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z) | Conserved mass peaks (m/z)
3589 | 2218 | 2218 | 5137 | 2219
4128 | 2534 | 2534 | 7171 | 2564
4433 | 3041 | 3023 | 8237 | 3587
| 3310 | 3306 |  | 3785
| 3586 | 3594 |  | 4128
| 4128 | 4128 |  | 4434
| 4433 | 4433 |  | 4832
| 4980 | 4946 |  | 5124
| 5066 | 5066 |  | 5673
| 6080 | 6044 |  | 5978
| 6393 | 6610 |  | 7172
| 7172 | 7186 |  | 9109
8254

## Serratia genus
Conserved mass peaks in Serratia genus
Conserved mass peaks in Serratia genus | Serratia marcescens | Serratia proteamaculans
2695 | Conserved mass peaks (m/z) | Conserved mass peaks (m/z)
2826 | 2691 | 2176
4184 | 2826 | 2698
4348 | 3962 | 2825
| 4185 | 3948
| 4349 | 4183
| 4606 | 4347
| 4768 | 4781
| 5359 | 5393
| 6116 | 6236
| 6226 | 6410
| 7924 | 7892
| 9537 | 9557